| 1 SCOPE |
| --- |
| 1.0 | Demonstrates the commitment to analyze biodiesel and biodiesel blends. |  |  |  |  |
| 1.0 | Identifies site or facility covered by the scope of the quality program. |  |  |  |  |

| 2.1 NORMATIVE REFERENCES Confirm Revision # Prior to Audit |
| --- |
| 2.1 | ASTM D975, Standard Specification for Diesel Fuel Oils |  |  | D975 | Note 1 |
| 2.1 | ASTM D6299, Standard Practice for Applying Statistical Quality Assurance and Control Charting Techniques to Evaluate Analytical Measurement System Performance |  |  | D6299 | Note 1 |
| 2.1 | ASTM D6300, Standard Practice for Determination of Precision and Bias Data for Use in Test Methods for Petroleum Products and Lubricants |  |  | D6300 | Note 1 |
| 2.1 | ASTM D6751, Standard Specification for Biodiesel Fuel Blend Stock (B100) for Middle Distillate Fuels |  |  | D6751 | Note 2 |
| 2.1 | ASTM D6792, Standard Practice for Quality System in Petroleum Products and Lubricants Testing Laboratories |  |  | D6792 | Note 1 |
| 2.1 | ASTM D7467, Standard Specification for Diesel Fuel, Biodiesel Blend (B6 to B20) |  |  | D7467 | Note 1 |
| 2.1 | EN 14214, Automotive Fuels – Fatty acid methyl esters (FAME) for Diesel Engines – Requirements and test methods |  |  | BS EN 14214 | Note 1 |
| 2.2 INFORMATIVE REFERENCES |
| 2.2 | ISO 9001:2008, Quality Management Systems - Requirements |  |  |  |  |
| 2.2 | ISO/IEC 17025, General Requirements for the Competence of Testing and Calibration Laboratories |  |  |  |  |
| 2.2 | ASTM D3244, Standard Practice for Utilization of Test Data to Determine Conformance with Specifications. |  |  | D3244 | Note 1 |
| 2.2 | ASTM D6617, Standard Practice for Laboratory Bias Detection Using Single Test Results from Standard Material |  |  | D6617 | Note 1 |
| 2.2 | ASTM E29 Standard Practice for Using Significant Digits in Test Data to Determine Conformance with Specifications |  |  | E29 | Note 1 |

| 3 DEFINITIONS |
| --- |
| 3.0 | “Shall” and “Should” shall be defined. |  |  |  | Minor |
| 3.1 | Biodiesel |  |  |  | Minor |
| 3.2 | Blend |  |  |  | Minor |
| 3.3 | NBAC |  |  |  | Minor |
| 3.4 | Quality Manual |  |  |  | Minor |
| 3.5 | Quality Program |  |  |  | Minor |
| 3.6 | Verification |  |  |  | Minor |

Note 1: Not having these documents or having a revision that is two revisions old is a Major nonconformance.  Having a revision of this document that is one revision old is a Minor nonconformance.

Note 2: Not having this document or having a revision that is two revisions old is a Critical nonconformance.  Having a revision of this document that is one revision old is a Major nonconformance.  If a specification change to D6751 has occurred within the last 90 days of the audit date, and this revision is not on hand, the finding shall be considered a Minor.

| 4 LABORATORY DOCUMENTATION REQUIREMENTS |
| --- |
| 4.0.a | The quality management system shall include documented statements of a quality policy |  |  |  | Minor |
| 4.0.b | The quality management system shall include a quality manual |  |  |  | Minor |
| 4.0.c | The quality management system shall include documented procedures required by the Program |  |  |  | Minor |
| 4.0.d | The quality management system shall have records required by this standard |  |  |  | Minor |
| 4.0 | The organization shall establish and maintain a documented quality management system containing provisions that explicitly or by reference, include the requirements contained in the BQ-9000 Laboratory program requirements. |  |  |  | Minor |
| 4.0 | The organization shall implement the newest revision of the BQ-9000 Producer Program Requirements into their quality management system within 90 days of the effective date of the latest revision |  |  |  | Minor |
| 4.1 | The quality program shall be documented in a quality manual |  |  |  | Minor |
| 4.1 | The quality manual shall include or make reference to quality system procedures |  |  |  | Minor |
| 4.2 | A quality policy shall be defined and documented which includes the objectives for and commitment to quality |  |  |  | Minor |
| 4.2 | The quality policy shall be related to the business goals of the biodiesel operation and the expectations of its customers |  |  |  | Minor |
| 4.2 | The quality policy shall be invoked throughout the biodiesel operation and understood by all levels of personnel. |  |  |  | Minor |
| 4.3 | Documented QSPs shall be prepared that describe the process to be employed for determining and documenting how operational quality requirements will be met and be consistent with the requirements herein |  |  |  | Minor |
| 4.3 | Procedures shall make reference to work instructions that define how an activity is performed |  |  |  | Minor |
| 4.4.a | Document Control shall have method of identifying the current document; such as revision letter, a revision date, or an effective date on each page of the document. |  |  |  | Minor |
| 4.4.b | Document Control shall include a document status form that lists all documents in the Quality System, and that defines the issue date and effective date |  |  |  | Minor |
| 4.4.c | Document Control shall include a distribution list of those in possession of the Quality Manuals |  |  |  | Minor |
| 4.4.d | Document Control shall include a method for controlling the distribution of new and updated sections of your Quality System documents |  |  |  | Minor |
| 4.4.d | The method for controlling the distribution of new and updated sections of your Quality System documents should include a mechanism to remind the recipients to destroy the copy of the obsolete documents. |  |  |  | Minor |
| 4.5 | Records shall be established and maintained to provide evidence of effective implementation, operation, and compliance of the organization’s quality system |  |  |  | Major |
| 4.5 | Records shall be retained for a minimum of two (2) years |  |  |  | Minor |
| 4.5 | Records shall be legible, identifiable and accessible |  |  |  | Minor |
| 4.5 | The storage of quality records shall be done in a manner that ensures record integrity |  |  |  | Minor |
| 4.5 | Procedures for retaining records of all original observations, calculations and derived data, calibration records, and final test reports for an appropriate period shall be established |  |  |  | Minor |

| 5 LABORATORY MANAGEMENT RESPONSIBLITES |
| --- |
| 5.1 | A quality management representative (QMR) shall be appointed |  |  |  | Major |
| 5.1 | QMR should chair quality management review meetings |  |  |  | Minor |
| 5.1 | QMR should ensure that a quality program is established and meets the requirements |  |  |  | Major |
| 5.1 | QMR should report on the performance of the quality program |  |  |  | Major |
| 5.1 | QMR should ensure that the most recent version of the quality documents are made available to personnel |  |  |  | Major |
| 5.2 | Organization should l have developed and implement a system for performing internal quality audits |  |  |  | Major |
| 5.2 | Each element of the quality system shall be audited at a minimum of once per year |  |  |  | Critical |
| 5.2 | Audits should be performed by persons other than those responsible for the area being audited. |  |  |  | Minor |
| 5.2 | Audit frequency should be increased when Audit results indicate that increased frequency would be beneficial. |  |  |  | Minor |
| 5.2 | Audit results shall be presented to personnel responsible for the audited area |  |  |  | Major |
| 5.2 | Cited nonconformities shall be resolved in a timely manner as defined in documented procedures |  |  |  | Major |
| 5.2 | Audit process, nonconformance reports, corrective action plans, and effective corrective action shall be referenced and obtainable through internal audit records |  |  |  | Major |
| 5.2 | Verification that audit nonconformances, corrective actions and verification of effectiveness are documented |  |  |  | Major |
| 5.2 | Verification that an internal audit report was generated and distributed to the quality management team and to management. |  |  |  | Critical |
| 5.3 | Organization’s management review meetings shall be held at least once every six months |  |  |  | Critical |
| 5.3 | Records shall be kept of the management review meetings |  |  |  | Major |
| 5.3.a | Management review meetings should include results on internal quality system audits |  |  |  | Major |
| 5.3.b | Management review meetings should include results on customer feedback |  |  |  | Minor |
| 5.3.c | Management review meetings should include results on quality control |  |  |  | Minor |
| 5.3.d | Management review meetings should include results on calibration and maintenance |  |  |  | Minor |
| 5.3.e | Management review meetings should include results on status of preventative and corrective measures |  |  |  | Minor |
| 5.3.f | Management review meetings should include results on follow-up actions from previous management reviews |  |  |  | Minor |
| 5.3.g | Management review meetings should include changes that could affect the quality management system |  |  |  | Minor |
| 5.3. h | Management review meetings should include discussions to optimize procedures and work instructions |  |  |  | Minor |
| 5.3. i | Management review meetings should include recommendations for improvement |  |  |  | Minor |

| 6 LABORATORY SAMPLE MANAGEMENT |
| --- |
| 6.0.a | The elements of sample management shall include procedures for unique identification of samples submitted to the laboratory |  |  |  | Major |
| 6.0.b | The elements of sample management shall include procedures for sample handling |  |  |  | Major |
| 6.0.c | The elements of sample management shall include procedures for sample storage and retention |  |  |  | Minor |
| 6.0.d | The elements of sample management shall include procedures for sample disposal in accordance with applicable government regulatory requirements |  |  |  | Minor |

| 7 LABORATORY DATA AND RECORD MANAGEMENT |
| --- |
| 7.1 | The work carried out by a laboratory shall be covered by a certificate/report that presents test results and other relevant information |  |  |  | Major |
| 7.1 | Items included in the laboratory reports should be specified by laboratory management through agreements with customers |  |  |  | Minor |
| 7.1 | Procedures for corrections or additions to a test report after issue shall be established |  |  |  | Minor |
| 7.1.a | Laboratory reports shall include name and location of the testing laboratory |  |  |  | Minor |
| 7.1.b | Laboratory reports shall include unique identification of the report (such as serial number) on each page of the report |  |  |  | Minor |
| 7.1.c | Laboratory reports shall include name and address of the customer |  |  |  | Minor |
| 7.1.d | Laboratory reports shall include description and identification of the test sample |  |  |  | Minor |
| 7.1.e | Laboratory reports shall include date of receipt of the test sample and date(s) of performance of test |  |  |  | Minor |
| 7.1.f | Laboratory reports shall include identification of the test specification, method or procedure, and if not the current version, the revision level used |  |  |  | Major |
| 7.1.g | Laboratory reports shall include identification of the tests performed by an outsourced laboratory |  |  |  | Minor |
| 7.1.h | Laboratory reports shall include description of the sampling procedure, if samples were taken by the laboratory or its agent |  |  |  | Minor |
| 7.1.i | Laboratory reports shall include any deviations, additions to or exclusions from the specified test requirements, and any other information relevant to a specific test |  |  |  | Major |
| 7.1.j | Laboratory reports shall include any other information which might be required by the customer |  |  |  | Minor |
| 7.1.k | Laboratory reports shall include a signature and job title of person(s) accepting responsibility for the test report and the date of issue |  |  |  | Minor |
| 7.2. | The reporting requirements specified in the test method or procedure shall be used unless specifically required otherwise by the customer or applicable regulations |  |  |  | Minor |
| 7.2 | If rounding is performed, the rounding protocol of ASTM E29 should be used unless otherwise specified in the method or procedure |  |  |  | Minor |

| 8 LABORATORY SPECIFICATIONS AND EQUIPMENT |
| --- |
| 8.1 | The laboratory shall have copies of the current product specifications and of the test methods for the tests being conducted in the laboratory and shall be up-to-date and available to the laboratory staff |  |  |  | Note 2 |
| 8.2 | The laboratory shall have all the required equipment and standards that are required for the testing being conducted |  |  |  | Major |

| 9 LABORATORY CALIBRATION AND MAINTENANCE |
| --- |
| 9.1 | The laboratory shall calibrate and maintain the equipment and standardize reagents at least as frequently as required by the test methods used |  |  |  | Major |
| 9.1 | If there is not a calibration requirement then a lab specific schedule shall be established for each test method used by the laboratory |  |  |  | Minor |
| 9.1 | Calibrations and standardizations shall be documented |  |  |  | Minor |
| 9.2 | The performance of apparatus and equipment used in the laboratory but not calibrated in that laboratory should be verified by using a documented, technically valid procedure at periodic intervals |  |  |  | Minor |
| 9.3 | Calibrations standards shall be appropriate for the method |  |  |  | Major |
| 9.3 | Quantitative calibrations standards should be prepared from constituents of known purity |  |  |  | Minor |
| 9.3 | Where appropriate, values for reference materials should be traceable to national or international standard reference materials |  |  |  | Minor |
| 9.4 | Instruments found out of calibration that cannot be addressed immediately shall be taken out of operation and tagged as such until the situation is corrected |  |  |  | Major |
| 9.5 | Procedures shall be established for the management of instrument calibration records, including the basis for recalibration |  |  |  | Major |
| 9.5 | Records shall indicate the instrument calibrated (including a unique instrument identification), method or procedure used for calibration, date of last calibration, and the nature and traceability of calibration standards |  |  |  | Major |
| 9.5 | Procedures shall be established for the management of instrument maintenance records indicating the instrument maintained, the dates of the last and next maintenance, and the person performing the maintenance. Records may be electronic. |  |  |  | Minor |

| 10 LABORATORY QUALITY CONTROL (QC) |
| --- |
| 10.1 | The laboratory shall use quality control charts or other quality control practices for each test method performed within this program by the laboratory |  |  |  | Major |
| 10.2 | Testing of QC samples shall occur on a regular schedule |  |  |  | Minor |
| 10.2.2 | All persons who routinely operate the system shall participate in generating QC test data. Quality control samples should be treated as regular samples |  |  |  | Minor |
| 10.3 | Quality control samples should be stable and homogenous materials having physical or chemical properties representative of the actual samples being analyzed by the test method |  |  |  | Minor |
| 10.3 | The material shall be well-characterized for the analyses of interest, available in sufficient quantities, have concentration values that are within the calibration range of the test method, and reflect the most common values testes by the laboratory |  |  |  | Minor |
| 10.3 | Certified reference materials with an accepted reference value should be used for regular QC testing that is intended to assess test method bias. |  |  |  | Minor |
| 10.3 | Results should be assessed in accordance with ASTM D6299 |  |  |  | Minor |
| 10.3 | Replacement QC material shall be prepared for use if QC material is beyond sample manufacturer’s expiration date or observed to be degrading |  |  |  | Minor |
| 10.4 | QC sample test data should be plotted on a control chart and evaluated to determine if the results obtained are within the method specifications and laboratory-established control limits |  |  |  | Minor |
| 10.4 | The charts used should be plotted on a control chart and evaluated to determine if the results obtained are within the method specifications and laboratory-established control limits |  |  |  | Minor |
| 10.4 | The charts used should be appropriate for the testing conditions and statistical objectives |  |  |  | Minor |
| 10.4 | Corrective action should be taken and documented for any analyses that are out-of-control |  |  |  | Minor |
| 10.4.1 | The charts should indicate the test method, date when the QC analyses were performed, and who performed them |  |  |  | Minor |
| 10.4.1 | Test samples should not be analyzed or results for samples should not be reported until the corresponding QC data are assessed and the testing process is verified to be in statistical control |  |  |  | Minor |
| 10.4.2 | Adequate training should be given to the analysts to enable them to generate and interpret charts |  |  |  | Minor |
| 10.4.4 | Supervisory and technical personnel shall periodically review the QC charts |  |  |  | Minor |
| 10.4.5 | The laboratory shall establish written procedures outlining the appropriate interpretation of the QC charts and responses to out-of-statistical-control situations observed |  |  |  | Minor |
| 10.4.5 | Was remedial action shall be taken for out-of-statistical-control situations before analyzing further samples |  |  |  | Minor |
| 10.4.6 | Was action taken when a new analysis shows a difference that is statistically different from the original results, and the difference exceeds the established site precision of that test? |  |  |  | Minor |
| 10.5 | Were control charts revised when the existing limits are no longer appropriate? |  |  |  | Minor |
| 10.6 | Were control materials stored in a manner to ensure their integrity and protection from contamination? |  |  |  | Minor |
| 10.7 | The laboratory shall have documented procedures for creating and maintaining records for the analysis of QC samples including the basis for the maintenance schedule |  |  |  | Minor |
| 10.7 | Do the records include the sample name and source, the test(s) performed, the assigned values and their uncertainty, testing frequency and obtained values |  |  |  | Minor |
| 10.7 | The receipt date shall be documented along with the expiration date |  |  |  | Minor |

| 11 LABORATORY PROFECIENCY TESTING |
| --- |
| 11.0 | Regular participation in interlaboratory proficiency testing programs shall be integrated into the laboratory’s quality control program |  |  |  | Major |
| 11.0 | Proficiency test programs should be used as appropriate by the laboratory to demonstrate testing proficiency relative to other industry laboratories |  |  |  | Major |
| 11.0 | The laboratory shall participate in the ASTM Interlaboratory Crosscheck Program on biodiesel or the Alberta Research Council’s International Quality Assurance Exchange Program on biodiesel |  |  |  | Major |
| 11.0 | The laboratory shall use proficiency testing programs for each test method performed by the laboratory |  |  |  | Minor |
| 11.0 | The laboratory shall evaluates the lab’s performance versus the mean values of the proficiency program test results |  |  |  | Major |
| 11.0 | Participants should plot their deviations from the consensus values established by the proficiency test program averages on a control chart to ascertain if the measurement processes are non-biased |  |  |  | Minor |
| 11.0 | Participation in a proficiency testing shall not be considered as a substitute for in-house quality control |  |  |  | Minor |

| 12 LABORATORY CORRECTIVE AND PREVENTIVE ACTION |
| --- |
| 12.1 | The root cause shall be investigated and identified for unacceptable situations |  |  |  | Major |
| 12.1 | Procedures for investigating root cause shall be established |  |  |  | Major |
| 12.2 | Procedures should able be established for the identification and implementation of appropriate corrective and preventive action so that the situation does not reoccur |  |  |  | Major |
| 12.2.l | The situation, root cause, and corrective/preventive action should be documented promptly |  |  |  | Major |
| 12.2.m | The report should be reviewed and approved by management and then verified for effectiveness of the corrective or preventive action |  |  |  | Major |

| 13 LABORATORY CUSTOMER COMPLAINTS |
| --- |
| 13.0 | A procedure shall exist to follow-up on customer complaints |  |  |  | Minor |
| 13.0 | The results of such investigation should be communicated to the customer as soon as practical |  |  |  | Minor |

| 14 LABORATORY TRAINING |
| --- |
| 14.0 | Laboratory management shall ensure that all staff performing testing or interpreting data are appropriately trained |  |  |  | Major |
| 14.0 | Laboratory training should cover at a minimum the following areas: test methods, results reporting and data interpretation |  |  |  | Minor |
| 14.0 | Records of training shall be maintained |  |  |  | Major |

| 15 OUTSOURCING OF TESTS |
| --- |
| 15.0 | The laboratory shall maintain records that indicate which test results were produced by an outsourced laboratory |  |  |  | Major |
| 15.2 | Organizations using outsourced laboratories shall receive from the outsourced laboratory a completed and signed Form BQF-1 with supporting documentation |  |  |  | Major |
| 15.2 | This form shall be completed annually by the outsourced laboratory and shall be retained by the organization for a minimum of two years |  |  |  | Minor |